[image: image1.png]


 
Currituck County 

Department of Planning and Community Development

153 Courthouse Road, Suite 110
Currituck, North Carolina 27929

252-232-3055
FAX 252-232-3026

[image: image2.png]




MEMORANDUM
To: 
Scott Stamm, Land Planning Solutions
From:
Tammy D. Glave, CZO


Senior Planner
Date:
August 13, 2018
Re: 
Currituck Reserve, Construction Drawing, TRC Comments
[image: image2.png]
Following are the comments received to date for Currituck Reserve, Construction Drawings, for the September 19, 2018 Technical Review Committee (TRC) meeting.  Since the county is under a state of emergency due to the impending hurricane, not all staff is available to comment at this time.  You will receive additional comments at the TRC meeting.  TRC comments are valid for six months.  Please let me know if you have any questions.  Thanks.
Planning (Tammy Glave, 252-232-6025)
Approval with comments:
1. As discussed at preliminary plat, the county is requesting that sidewalk improvements be installed along with the final coat of asphalt on Campus Drive from Tulls Creek Road to this subdivision as was discussed at original subdivision approval.
2. Please show the four foot trail system as approved with the preliminary plat that loops around the central stormwater pond and provide a cross-section detail for trail construction.
3. Please also show appropriate crossings when trail system ends on the opposite side of the road from the sidewalk.

4. Please call out planting easements for street trees and pedestrian easements for sidewalks/trails not within the right-of-way.
5. Call out “Moyock Township” in the title block. (Administrative Manual)
6. Continue the farmland buffer the entire length of the southern boundary line since it adjoins cultivated farmland. (UDO Section 5.11.5)

7. Please how the 1.84 acre park and recreation area being dedicated to the county. (UDO Section 6.5)
8. Provide a summary of open space/conservation areas. (UDO Section 7.1.3)
9. Show the 5’ non-access easement on the most travelled  street for lots 9, 64, and 65. (UDO Section 10.3.3)

10. Show sight triangles at the intersections of Currituck Reserve Parkway and Campus Drive and Campus Drive and Tulls Creek Road. (UDO Section 10.3.4)

11. Notes 9 and 10 on the cover page need to be clarified that the open space areas and drainage facility/pond maintenance is the responsibility of the HOA after 75% of the lots are sold (not immediately).

12. Change city to county in Note 8 on the cover page.

13. While it does not directly affect the design of this subdivision, it should be noted that the County Attorney has advised that the county is not willing to vacate the 100’ private ingress/egress and utility easement along the entrance of Campus Drive.  Further discussion is underway between the County Attorney and the developer of Glenmoore Ridge.  Campus Drive was originally designed as a divided entrance (landscaped median).  The easement also contains county drainage infrastructure. 

Currituck County Building and Fire Inspections (Bill Newns, 252-232-6023)
Reviewed with comment:
Fire

1. Fire apparatus access must be at least 20’ wide 13’ 6” in height. Maximum slope shall not exceed 10%.

2. All portions of the fire apparatus access must be capable of 75,000lbs under all weather conditions.

3. By general statue parking is not allowed within 15’ of a fire hydrant. (FDC) Fire hydrants must be within 500’ of all road frontages.

4. Cul de sacs must be 96’ in width curb to curb at the center of the cul de sac.

5. Dwellings greater than 4800 sq. ft. and/or greater than 2 stories will be calculated using the ISO commercial method. Dwellings 4800 sq. ft. and no greater than 2 stories may use set-backs as indicated in the ISO method to determine Needed Fire Flow.

Inspections

1. Cluster mail box location (ADA compliant) Curb cut at side walk locations for street crossing with detectable warning devices
Currituck County Engineer (Eric Weatherly 252-232-6035)

Campus Drive was originally designed as a divided road (landscaped median).
Currituck County GIS (Harry Lee,  252-232-4039)

Reviewed with comment:
· Lot 1: 214 Campus Dr

· Lot 2: 212 Campus Dr

· Lot 3: 210 Campus Dr

· Lot 4: 208 Campus Dr

· Lot 5: 206 Campus Dr

· Lot 6: 204 Campus Dr

· Lot 7: 202 Campus Dr

· Lot 8: 200 Campus Dr

· Lot 9: 101 Currituck Reserve Pkwy

· Lot 10: 103 Currituck Reserve Pkwy

· Lot 11: 105 Currituck Reserve Pkwy

· Lot 12: 107 Currituck Reserve Pkwy

· Lot 13: 109 Currituck Reserve Pkwy

· Lot 14: 111 Currituck Reserve Pkwy

· Lot 15: 113 Currituck Reserve Pkwy

· Lot 16: 115 Currituck Reserve Pkwy

· Lot 17: 117 Currituck Reserve Pkwy

· Lot 18: 119 Currituck Reserve Pkwy

· Lot 19: 121 Currituck Reserve Pkwy

· Lot 20: 123 Currituck Reserve Pkwy

· Lot 21: 125 Currituck Reserve Pkwy

· Lot 22: 127 Currituck Reserve Pkwy

· Lot 23: 129 Currituck Reserve Pkwy

· Lot 24: 131 Currituck Reserve Pkwy

· Lot 25: 133 Currituck Reserve Pkwy

· Lot 26: 135 Currituck Reserve Pkwy

· Lot 27: 137 Currituck Reserve Pkwy

· Lot 28: 139 Currituck Reserve Pkwy

· Lot 29: 141 Currituck Reserve Pkwy

· Lot 30: 201 Currituck Reserve Pkwy

· Lot 31: 203 Currituck Reserve Pkwy

· Lot 32: 205 Currituck Reserve Pkwy

· Lot 33: 160 Gander Dr

· Lot 34: 158 Gander Dr

· Lot 35: 156 Gander Dr

· Lot 36: 154 Gander Dr

· Lot 37: 152 Gander Dr

· Lot 38: 150 Gander Dr

· Lot 39: 148 Gander Dr

· Lot 40: 146 Gander Dr

· Lot 41: 144 Gander Dr

· Lot 42: 142 Gander Dr

· Lot 43: 140 Gander Dr

· Lot 44: 138 Gander Dr

· Lot 45: 136 Gander Dr

· Lot 46: 134 Gander Dr

· Lot 47: 132 Gander Dr

· Lot 48: 130 Gander Dr

· Lot 49: 128 Gander Dr

· Lot 50: 126 Gander Dr

· Lot 51: 124 Gander Dr

· Lot 52: 122 Gander Dr

· Lot 53: 120 Gander Dr

· Lot 54: 118 Gander Dr

· Lot 55: 116 Gander Dr

· Lot 56: 114 Gander Dr

· Lot 57: 112 Gander Dr

· Lot 58: 110 Gander Dr

· Lot 59: 108 Gander Dr

Currituck County Parks and Recreation (Jason Weeks, 252-232-3007)

Reviewed with comment:

1. It was my understanding that there was supposed to be a parcel of land dedicated to park space.  I do not see it on the plan nor do I see a note in reference to the park space.
Currituck Soil and Stormwater (Will Creef, 252-232-3360)

Currituck County Southern Outer Banks Water System (Benjie Carawan, 252-453-2620)

Reviewed without comment.
Currituck County Water Department (Yama Jones, 252-232-2769)

Albemarle Regional Health Services (Joe Hobbs, 252-232-6603)

Reviewed with comment:

1. CONSULT WITH KEVIN CARVER RS AT 252-232-6603 CONCERNING WASTEWATER APPROVAL FOR EACH LOT THAT MAKES UP THIS PROPOSED SUB-DIVISION.

NC Division of Coastal Management (Charlan Owens, 252-264-3901)

Reviewed without comment.
US Post Office (Moyock)
Contact the local post office to determine required method of mail delivery. 
Comments Not Yet Received from:
The following items are necessary for resubmittal:

· 3 - full size copies of revised plans

· 1 – 8.5 x 11” reduced copy

· 1- PDF digital copy of all revised or new documents and plans.
PB 14-34 Currituck Reserve
Construction Drawings
TRC Comments
Page 2 of 4

